## Lamp SPK
Lampiran 1
SURAT PERINTAH KERJA
PROJECT |  | : OSP FO FTTH MYREP CLUSTER TAHAP-1 PERIODE MEI 2026 AREA BANDUNG PT EKA MAS REPUBLIK
NOMOR NTP |  | : 18052/ROLL OUT/PROCUREMENT/IV/2026, 18-Apr-26
NOMOR KONTRAK |  | : TEC.040/TKM.00/MPL/IV/2026
NOMOR SPK |  | :
LOKASI |  | : BANDUNG
No | Description/Item | Unit | AREA |  | 0 | 0 | 0 | 0 | [6 empty] | Remark
|  |  | Unit Price |  | RANCAPANGGUNG RW 08 BANDUNG |  |  |  | VOLUME |  | JUMLAH HARGA
[5 empty] | CLUSTER |  | SUBFEEDER |  | Material | Service | Material |  | Service MITRA | Material + Service
|  |  | Material | Service | Material | Service | Material | Service |  |  | TKM | MITRA
1 | Pengamanan & Persiapan |  |  |  | 0 | 0 | 0 | 0
1.1 | Pengamanan Perizinan dan K3 | ls |  | 1000000 | 0 | 1 |  |  | 0 | 0 |  |  | 0 | 0 |  | 0
1.2 | Transportasi, Mobilisasi & demobilisasi | ls |  | 1650000 | 0 | 1 | 0 | 1 | 0 | 0 |  |  | 0 | 0 |  | 0
Sub Total Preparation | [15 empty] | 0
0
2 | ODN, OSP, Aktivasi, Instalasi, termasuk ATP Civil Work, Integrasi, Testing & Dokumentasi |  |  |  | 0 | 0 | 0 | 0 | [7 empty] | 0
2.1 | ODN |  |  |  | 0 | 0 | 0 | 0 | [7 empty] | 0
A | FO core type SM G.652.D-ADSS (Aerial dan Underground) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| FO core type SM G.652.D-ADSS 24 cores | meter | 0 | 0 | 1276 | 0 | 20 | 0 | 0 | 0 |  |  | 0 | 0 | Material EMR | 0
| Instal FO core type SM G.652.D-ADSS 24 cores | meter | 0 | 4000 | 0 | 1276 | 0 | 20 | 0 | 0 |  |  | 0 | 0 |  | 0
| FO core type SM G.652.D-ADSS 36 cores | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | Material EMR | 0
| Instal FO core type SM G.652.D-ADSS 36 cores | meter | 0 | 4000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| FO core type SM G.652.D-ADSS 48 cores | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | Material EMR | 0
| Instal FO core type SM G.652.D-ADSS 48 cores | meter | 0 | 4000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| FO core type SM G.652.D-ADSS 72 cores | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Instal FO core type SM G.652.D-ADSS 72 cores | meter | 0 | 5000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| FO core type SM G.652.D-ADSS 96 cores | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Instal FO core type SM G.652.D-ADSS 96 cores | meter | 0 | 5500 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| FO core type SM G.652.D-ADSS 144 cores | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Instal FO core type SM G.652.D-ADSS 144 cores | meter | 0 | 5000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| FO core type SM G.652.D-ADSS 288 cores | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Instal FO core type SM G.652.D-ADSS 288 cores | meter | 0 | 5200 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Round Cable 1C - 50 m | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Install Round Cable 1C - 50 m | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Round Cable 1C - 100 m | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Install Round Cable 1C - 100 m | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Round Cable 1C - 150 m | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Install Round Cable 1C - 150 m | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Round Cable 1C - 200 m | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Install Round Cable 1C - 200 m | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Round Cable 1C - 250 m | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Install Round Cable 1C - 250 m | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Round Cable 1C - 300 m | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Install Round Cable 1C - 300 m | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
B | Fiber Distribution Terminal (FDT) SC/APC c/w Box, matrix terminal, Patchtray, Pigtail, label & accessories include concrete base |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| 48 cores capacity pole mounted FDT | set | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Instal 48 cores capacity pole mounted FDT | set | 0 | 320000 | 0 | 1 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| 72 cores capacity pole mounted FDT | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | Material EMR | 0
| Instal 72 cores capacity pole mounted FDT | set | 0 | 320000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| 96 cores capacity pole mounted FDT | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Instal 96 cores capacity pole mounted FDT | set | 0 | 320000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| 144 cores capacity ground mounted FDT | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Instal 144 cores capacity pole mounted FDT | set | 0 | 2600000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| 288 cores capacity ground mounted FDT | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Instal 288 cores capacity pole mounted FDT | set | 0 | 3100000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| 576 cores capacity ground mounted FDT | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Instal 576 cores capacity pole mounted FDT | set | 0 | 4000000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Hub Box (With Splitter 1:2 Even) | unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Install Hub Box (With Splitter 1:2 Even) | unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
C | Optical Splitter (Bracket Mount Type, SC/APC) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Splitter 1:4 | unit | 25000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Splitter 1:8 (Modular) | unit | 25000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
D | Micro Splitter (PLC Type) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Micro Splitter 1:4 | unit | 25000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Micro Splitter 1:8 | unit | 25000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
E | Fiber Access Terminal (FAT) c/w adapter, pigtail SC/APC, label & accessories |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Pole mounted outdoor type (16 ports type) | unit | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | Material EMR | 0
| Instal Pole mounted outdoor type (16 ports type) Pole | unit | 0 | 150000 | 0 | 10 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
| Pedestal ground mounted type (16 ports type) | unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Instal Ground mounted outdoor type (16 ports type) | unit | 0 | 175000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Instalasi FAT Underground 8 Port | unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Instalasi FAT Underground 16 Port | unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Sub Box (With Splitter 1:9, Uneven 70/30) | unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Install Sub Box (With Splitter 1:9, Uneven) | unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| End Box (With Splitter 1:8, Even) | unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Install End Box (With Splitter 1:8, Even) | unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
F | Underground Pedestal SPH920 Signature Series Type include accessories & concrete base | unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Instal Underground Pedestal SPH920 Signature Series Type include accessories & concrete base | unit | 0 | 200000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
G | Joint Closure | unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Fiber Optic Joint Closure Type In-line 24 Core | unit | 710000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Fiber Optic Joint Closure Type In-line 36 Core | unit | 810000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Fiber Optic Joint Closure Type In-line 48 Core | unit | 860000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
| Fiber Optic Joint Closure Type In-line 72 Core | unit | 975000 | 60000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Fiber Optic Joint Closure Type In-line 96 Core | unit | 950000 | 60000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Fiber Optic Joint Closure Type In-line 144 Core | unit | 1495000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
| Fiber Optic Joint Closure Type Inline 288 Core | unit | 2015000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Fiber Optic Joint Closure Type Dome 24 Core | unit | 710000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Fiber Optic Joint Closure Type Dome 36 Core | unit | 810000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Fiber Optic Joint Closure Type Dome 48 Core | unit | 860000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Fiber Optic Joint Closure Type Dome 72 Core | unit | 890000 | 60000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Fiber Optic Joint Closure Type Dome 96 Core | unit | 1035000 | 60000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Fiber Optic Joint Closure Type Dome 144 Core | unit | 1215000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Fiber Optic Joint Closure Type Dome 288 Core | unit | 1495000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
H | Pigtail SM SC/APC | pcs | 23500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
U | Connector SC/APC | pcs | 27500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
J | Splicing | core | 0 | 48000 | 0 | 20 | 0 | 6 | 0 | 0 |  |  | 0 | 0 |  | 0
| Protector Sleeve | pcs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
K | Label Cable (on pole, in Handhole) | pcs | 27000 | 0 | 2.7 | 2.7 | 1 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
L | Label FDT | pcs | 45000 | 0 | 1 | 1 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
M | Label FAT (include QR Code) | pcs | 35000 | 0 | 10 | 10 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
N | Label Pole | pcs | 22000 | 0 | 6 | 6 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
O | Label Pedestal | pcs | 22000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
P | Bridge and River crossing | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| River crossing by self support | meter | 340000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| River crossing by attach to existing bridge | set | 320000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| River crossing by 7m single pole hanging bridge | set | 0 | 3525000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| River crossing by 9m single pole hanging bridge | set | 0 | 4760000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| River crossing by 9m double pole hanging bridge | set | 0 | 9590000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
Sub Total ODN | [13 empty] | 0 |  | 0
[14 empty] | 0 |  | 0
2.2 | Pekerjaan OSP termasuk ATP Civil Work |  |  |  | 0 | 0 | 0 | 0 | [5 empty] | 0 |  | 0
A | Pekerjaan Trenching berikut rekondisi Hotmix, Aspal, Makadam, Conblock, Beton Floor, Taman/rumput, Ubin |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pekerjaan Trenching 150cm depth | meter | 0 | 68000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pekerjaan Trenching 30-80 cm depth (distribution inside cluster only) | meter | 0 | 55500 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
B | Pekerjaan Boring berikut rekondisi galian pit, Hotmix, Aspal, Makadam, Conblock, Beton Floor, Taman/rumput, Ubin |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Boring manual 150cm depth | meter | 0 | 65000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Boring manual 2 Sub Duct 150cm depth | meter | 0 | 75000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Boring manual 3 Sub Duct 150cm depth | meter | 0 | 80000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Boring manual PVC/HDPE 4" 150cm depth | meter | 0 | 100000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Boring directional jalan raya | meter | 0 | 110000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Boring directional jalan tol | meter | 0 | 390000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Boring rel kereta | track/meter | 0 | 325000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Boring Mesin | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Boring Manual 400 cm (Jalur KAI) | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pengadaan dan pemasangan pipa Duct pada jembatan dengan self support berpenguatan menggunakan Pipa besi Galv 1 pipa, bentang 6 - 12 meter | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pengadaan dan pemasangan pipa Duct pada jembatan dengan self support berpenguatan menggunakan Pipa besi Galv 2 pipa, bentang 6 - 12 meter | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pengadaan dan pemasangan Pipa Duct dengan system gantung 1 tiang besi, bentang s/d 40 meter | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pengadaan dan pemasangan Pipa Duct dengan system gantung 2 tiang besi, bentang s/d 100 meter | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pengadaan dan Pemasangan 1 Subduct 50/42 pada polongan route Duct | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| pengadaan dan Pemasangan 1 Subduct 50/42 pada polongan route Duct, 2 pipa | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pekerjaan Pembersihan pada route Duct yang kosong / Rodding Duct Existing. | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pekerjaan Perbaikan Route Duct / HDPE, 1 pipa. | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pekerjaan bobok dinding MH / HH termasuk perbaikan kembali | meter3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pengadaan galian batu masif kedalaman 1,5 meter, panjang minimum 5 m, termasuk pengadaan marking post | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pekerjaan galian pada permukaan jalan aspal dengan lebar galian 8 cm dan kedalaman 40 cm, termasuk pemetaan, pengurugan (backfilling) menggunakan concrete type K225 dan pengaspalan | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pekerjaan Peninggian Tutup Manhole/Handhole | pcs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
C | Sub Duct / HDPE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Sub Duct / HDPE 32/28 warna hitam, 3 strip ungu | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Sub Duct / HDPE 32/28 warna hitam, 3 strip ungu | meter | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Socket HDPE 32/28 | pcs | 7000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Socket HDPE 32/28 | pcs | 0 | 800 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Sub Duct / HDPE 40/34 warna Ungu, 3 Strip Putih | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Sub Duct / HDPE 40/34 warna Ungu, 3 Strip Putih | meter | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Socket HDPE 40/34 | pcs | 12000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Socket HDPE 40/34 | pcs | 0 | 1500 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
D | Galvanize pipe include shock and clamp |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Galvanize pipe (diameter 1 inch) | meter | 45500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Galvanize pipe (diameter 2 inch) | meter | 63500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Galvanize pipe (diameter 3 inch) | meter | 99500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Galvanize pipe (diameter 4 inch) | meter | 147500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
E | PVC AW Pipe include shock and clamp |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| PVC AW pipe (diameter 1 inch) | meter | 15900 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| PVC AW pipe (diameter 2 inch) | meter | 24300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| PVC AW pipe (diameter 3 inch) | meter | 56500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| PVC AW pipe (diameter 4 inch) | meter | 68500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
F | Cable Duct Installation include accessories |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Cable Duct TC-2 | meter | 7500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Cable Duct TC-3 | meter | 8500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Cable Duct TC-4 | meter | 10300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Cable Duct TC-5 | meter | 11500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Cable Duct TC-6 | meter | 12200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Cable Duct 10 x 5 cm | meter | 18500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Cable Duct 10 x 10 cm | meter | 21500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
G | Conduit, flexible dan aksesoris pipa |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Conduit pipe 3/4 inch | meter | 3100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Flexible 3/4 inch | meter | 3100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Shock Conduit Pipe 3/4 inch | pcs | 4250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Clamp for PVC Conduit support 3/4 inch | pcs | 3700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Steel Clamp dia 36 mm, width 25 mm, thickness 3 mm + dynabolt | pcs | 25000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| PVC Double Elbow 1.25" | pcs | 15500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| PVC Double Elbow 1.5" | pcs | 15500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Socket (D-DS) 1 inch | pcs | 9000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Large Radius Tee (D-LT) 2 x 1 inch | pcs | 11400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Elbow (D-DL) 1 inch | pcs | 9600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Dop 1 inch | pcs | 4500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Tambang pancing/Roding rope | meter | 4640 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
H | Hand hole include cover, cable hanger and accessories |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Precast Hand hole for FDT : 80 x 80 x 130 cm | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Precast Hand hole for FDT : 80 x 80 x 130 cm | set | 0 | 750000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Concrete Hand hole for FDT: 80 x 80 x 130 cm | set | 2200000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Concrete Hand hole for FDT: 80 x 80 x 130 cm | set | 0 | 700000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Precast Hand hole for FAT : 40 x 40 x 60 cm | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Precast Hand hole for FAT : 40 x 40 x 60 cm | set | 0 | 225000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Concrete Hand hole for FAT " : 40 x 40 x 60 cm | set | 1500000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Concrete Hand hole for FAT " : 40 x 40 x 60 cm | set | 0 | 400000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Precast Hand hole for pulling pit : 20x20x20 cm | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Precast Hand hole for pulling pit : 20x20x20 cm | set | 0 | 350000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Concrete Hand hole for pulling pit : 20x20x20 cm | set | 750000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Concrete Hand hole for pulling pit : 20x20x20 cm | set | 0 | 200000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pembuatan HH PIT 100x100x4 M Jalur KAI | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pemasangan Turab HH PIT dan Barikade | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Label HH | pcs | 57000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
I | Cable riser include accessories | set | 240000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
J | Warning tape (Tulisan KABEL MY REPUBLIC) | meter | 2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
K | Marking post (per 400 meter) | pcs | 165000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
L | Cable Tray include hanger and accessories | meter | 80000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
M | Cable Ladder Tray include hanger and accessories | meter | 145000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
N | Bobok dinding per titik | pcs | 0 | 84500 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
O | Bobok ceiling per titik | pcs | 0 | 45000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
P | Public Right of Way (ROW)/Permit Aerial | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
Q | Kementerian Permit - Balai Besar (Balai Nasional) | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
R | PU Permit | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
S | Landlord Permit | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
T | KAI Permit | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
U | Community Permit | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
V | Pengelola Tol Permit | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
W | Pengelola LRT | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
X | RT/RW Permit | meter | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
Y | Pemerintah Daerah Permit | meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
Sub Total OSP - ATP Civil Work | [15 empty] | 0
0
2.3 | Instalasi Kabel lintas udara termasuk pondasi, bracket, aksesoris, perkuatan tiang termasuk ATP Civil Work |  |  |  | 0 | 0 | 0 | 0 | [7 empty] | 0
A | Pengadaan Tiang 7 meter 5", STEL L-003 1996 | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pemasangan Tiang 7 meter 5", STEL L-003 1996 | set | 0 | 210000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
B | Pengadaan Tiang Tunggal 9 meter 5", STEL L-003 1996 | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pemasangan Tiang Tunggal 9 meter 5", STEL L-003 1996 | set | 0 | 235000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
C | Pengadaan Tiang 7 meter 4", STEL L-003 1996 | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Pemasangan Tiang 7 meter 4", STEL L-003 1996 | set | 0 | 200000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
D | Pengadaan Tiang Tunggal 9 meter 4", STEL L-003 1996 | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pemasangan Tiang Tunggal 9 meter 4", STEL L-003 1996 | set | 0 | 235000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
E | Pengadaan Tiang 7 meter 3 inch | set | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | Material EMR | 0
| Pemasangan Tiang 7 meter 3 inch | set | 0 | 200000 | 0 | 1 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
| Pole / Tiang Udara 7 Meter 2.5 | unit | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Pemasangan Pole / Tiang Udara 7 M 2.5 | unit | 0 | 150000 | 0 | 5 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
F | Perkuatan Tiang |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Temberang (perkuatan tiang termasuk sling, anchor dan aksesories) | set | 675000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Tiang sokong (tiang 9m) | set | 2125000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Tiang sokong (tiang 7m) | set | 1915000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
G | Cable loop holder/plat strip/Cable hanger | set | 190000 | 0 | 12 | 12 | 1 | 1 | 0 | 0 |  |  | 0 | 0 |  | 0
H | Instalasi strand wire/sling messenger 6 mm | meter | 22500 | 0 | 196 | 196 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
I | Pole Accessories detail | set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| 1. Plate belt 20mm | pcs | 7000 | 0 | 44 | 44 | 4 | 4 | 0 | 0 |  | 0 | 0 | 0 |  | 0
| 2. Suspension clamp | pcs | 22000 | 0 | 4.4 | 4.4 | 1 | 1 | 0 | 0 |  | 0 | 0 | 0 |  | 0
| 3. Steel hoop and rubber tape | pcs | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| 4. Buldog grip | pcs | 2000 | 0 | 29.4 | 29.4 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0
| 5. Clamp 8 (Clamp Gantung) | pcs | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0
| 6. Riser pipe 1,5" | pcs | 200000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| 7. Galvanized steel pipe 2" | pcs | 250000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| 8. Steel clamp | pcs | 13000 | 0 | 4.4 | 4.4 | 1 | 1 | 0 | 0 |  | 0 | 0 | 0 |  | 0
| 9. Pole clamp single | pcs | 23500 | 0 | 22.6 | 22.6 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0
| 10. Pole clamp 2 cable installation | pcs | 45000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| 11.Clamps Dead end Fittings/clamp buaya | pcs | 25000 | 0 | 45.2 | 45.2 | 2 | 2 | 0 | 0 |  | 0 | 0 | 0 |  | 0
| 12. Bahan Pondasi tiang | pcs | 40000 | 0 | 6 | 6 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0
| 13. HELICAL DEAD END DIAMETER 15.7-17.0 MM | pcs | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| 14. Extention Arm | pcs | 450000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0
Sub Total Instalasi Kabel Lintas Udara | [15 empty] | 0
0
2.4 | Optical System |  |  |  | 0 | 0 | 0 | 0 | [7 empty] | 0
A | Standard Rack include cable management and accessories |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Standing Closed Rack 19" with Glass Panel | set | 6200000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Standing Closed Rack 19" with Glass Panel | set | 0 | 250000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Standing Open Rack 19" | set | 2625000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Standing Open Rack 19" | set | 0 | 250000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Wall Mount Closed Rack Standard 19" with Glass Panel 12 U (450 mm Depth) | set | 2812500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Wall Mount Closed Rack Standard 19" with Glass Panel 12 U (450 mm Depth) | set | 0 | 170000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
B | Optical Distribution Frame(SC/APC) include fiber cable management and accessories (Indoor) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Optical Distribution Frame(SC/APC) - 384 ports (ODF) | unit | 12375000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Optical Distribution Frame(SC/APC) - 384 ports (ODF) | unit | 0 | 350000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Optical Distribution Frame(SC/APC) - 576 ports (ODF) | unit | 15750000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Optical Distribution Frame(SC/APC) - 576 ports (ODF) | unit | 0 | 350000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Optical Distribution Frame(SC/APC) - 720 ports (ODF) | unit | 19687500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Optical Distribution Frame(SC/APC) - 720 ports (ODF) | unit | 0 | 350000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Optical Distribution Frame(SC/APC) - 864 ports (ODF) | unit | 25593750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Optical Distribution Frame(SC/APC) - 864 ports (ODF) | unit | 0 | 350000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
C | Optical Distribution Frame(SC/APC) include fiber cable management and accessories, will be installed inside Active equipment Outdoor Cabinet (outdoor) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Optical Distribution Frame(SC/APC) - 48 ports (ODF) | unit | 2328750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Optical Distribution Frame(SC/APC) - 48 ports (ODF) | unit | 0 | 350000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Optical Distribution Frame(SC/APC) - 168 ports (ODF) | unit | 9000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Optical Distribution Frame(SC/APC) - 168 ports (ODF) | unit | 0 | 350000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Optical Distribution Frame(SC/APC) - 288 ports (ODF) | unit | 13837500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Optical Distribution Frame(SC/APC) - 288 ports (ODF) | unit | 0 | 350000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Optical Distribution Frame(SC/APC) - 576 ports (ODF) | unit | 15750000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Instal Optical Distribution Frame(SC/APC) - 576 ports (ODF) | unit | 0 | 350000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
D | Optical Termination module include pigtail inside |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| 12 core capacity | pcs | 531500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| 24 core capacity | pcs | 595500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| 48 core capacity | pcs | 715500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| 72 core capacity | pcs | 915500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| 96 core capacity | pcs | 1240000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
E | Patchcord SM G.657A2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Patchcord SM G.657A2 SC/APC - SC/UPC - 10 m | pcs | 103000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Patchcord SM G.657A2 SC/APC - SC/UPC - 3 m | pcs | 73000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Patchcord SM G.657A2 SC/APC - SC/APC - 10 m | pcs | 103000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
| Patchcord SM G.657A2 SC/APC - SC/APC - 3 m | pcs | 73000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
Sub Optical System | [15 empty] | 0
0
2.5 | Pekerjaan Aktivasi, Integrasi, Testing & Commissioning |  |  |  | 0 | 0 | 0 | 0 | [7 empty] | 0
| Testing & Commissioning (Testcomm / Uji Terima) : |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
a | Testcomm OTDR & OPM OLT - ODF | core | 0 | 22500 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
b | Testcomm OTDR & OPM ODF - FDT | core | 0 | 22500 | 0 | 0 | 0 | 1 | 0 | 0 |  |  | 0 | 0 |  | 0
c | Testcomm OTDR & OPM FDT - FAT | core | 0 | 22500 | 0 | 10 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0
Sub Total Aktivasi, Integrasi, Testing & Commissioning | [15 empty] | 0
0
2.6 | Documentation |  |  |  | 0 | 0 | 0 | 0 | [7 empty] | 0
A | Survey & Design (Asplan) | meter | 0 | 1000 | 0 | 1472 | 0 | 20 | 0 | 0 |  |  | 0 | 0 |  | 0
B | As Built Drawing A1 (1 set asli + 3 set copy + soft copy), KMZ, BOQ & Documentation | set per site | 0 | 1300000 | 0 | 1 | 0 | 1 | 0 | 0 |  |  | 0 | 0 |  | 0
Sub Total Documentation | [15 empty] | 0
0
3 | Others |  |  |  | 0 | 0 | 0 | 0 | [7 empty] | 0
A | Project Management | meter | 0 | 1750 | 0 | 1472 | 0 | 20 | 0 | 0 | 0 |  |  | 0 |  | 0
Sub Total Project Management Fee | [15 empty] | 0
0
4 | Warehouse |  |  |  | 0 | 0 | 0 | 0 | [7 empty] | 0
A | HANDLING WAREHOUSE (JAWA-SUMATERA) | ls | 0 | 2420000 | 0 | 1 | 0 | 1 | 0 | 0 |  |  | 0 | 0 |  | 0
B | HANDLING WAREHOUSE (KALSUL) | ls |  | 3500000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
Sub Total Warehouse | [15 empty] | 0
0
5 | Extended Warranty & Maintenance (After 1 year basic Warranty & Maintenance) - (Optional) |  |  |  | 0 | 0 | 0 | 0 | [7 empty] | 0
A | Warranty & Maintenance ODN per year | ls | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
Sub Total Extended Warranty & Maintenance | [15 empty] | 0
0
6 | Tools and Test Equipment (Optional) |  |  |  | 0 | 0 | 0 | 0 | [7 empty] | 0
A | Optical Power Meter 1310nm, 1490nm, 1550nm | unit | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
B | OTDR (Optical Time Domain Reflectometer) | unit | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
C | Fusion Splicer | unit | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
Sub Total Tools and Test Equipment | [15 empty] | 0
0
7 | Training - (Optional) |  |  |  | 0 | 0 | 0 | 0 | [7 empty] | 0
A | FTTH Local Training | person | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
B | FTTH Training Certified by FTTH Council | person | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
Sub Total Training | [15 empty] | 0
0
8 | Bank Garansi (Optional)- di DKI untuk UG saja |  |  |  | 0 | 0 | 0 | 0 | [7 empty] | 0
A | Jaminan Pelaksanaan Perbaikan Berupa Bank Garansi | qty | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
B | Jaminan Pemeliharaan Berupa Bank Garansi | lot | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
SUB TOTAL Bank Garansi (Optional) | [15 empty] | 0
| GRAND TOTAL | [9 empty] | 0 | 0 | 0 | 0 |  | 1
| Management TKM | [8 empty] | 25% |  |  | 0 |  |  | 1
| Nilai Mitra Pelaksana | [11 empty] | 0 | 0 |  | 1
| Admin (2,65%) | [8 empty] | 2.65% |  |  |  | 0 |  | 1
| Total Jasa Mitra Pelaksana | [12 empty] | 0 |  | 1
Bandung, 7 Mei 2026
| Pelaksana |  | Diperiksa |  |  |  |  | Mengetahui |  |  |  |  | Menyetujui
| NGADI HARYONO |  | ….................. |  |  | WARDANI SETIAWAN |  | ….................. |  | YAYA SUNARYA |  | ALMAIDA |  | IDA ISNAENI
| Mitra Pelaksana |  | RPM Regional II |  |  | Manager Konstruksi |  | Manager Control Project |  | GM Project |  | GM Finance |  | Direktur